PhysIO Toolbox

QuickStart

Manual

Author: 		Lars Kasper, Institute for Biomedical Engineering,

University of Zurich and ETH Zurich

kasper@biomed.ee.ethz.ch

Development: 	2008-2014

Last Change: 		May 3rd , 2014

# Table of Contents

Table of Contents	2

1	Purpose	4

2	One-Page Quickstart – SPM Toolbox	5

3	Quickstart – Matlab script (command line)	7

2.1	Setting sqpar and thresh-parameters	7

2.2	Description of Variables: the physio-structure	9

2.3	Example (main_ECG3T.m)	10

4	Step-by-Step Guide	14

3.1	Interpreting the Output Figures	15

5	Citing this work	17

6	Example Datasets	18

4.1	Philips	18

4.1.1	ECG3T	18

4.1.2	ECG7T	20

4.1.3	Pulse Oximeter 3T	22

4.1.4	ECG3T_Trigger	23

4.2	GE	25

4.2.1	Pulse Oximeter 3T	25

4.3	Siemens	26

4.3.1	ECG 3T	26

4.4	27

7	Input Structure physio	27

5.1	log_files	29

5.2	sqpar	30

5.3	thresh	31

5.3.1	thresh.scan_timing	31

5.3.2	thresh.cardiac	32

5.4	model	34

5.5	verbose	35

7.2		35

8	TODO/Feature requests	36

# Purpose

This toolbox provides model-based physiological noise correction of fMRI data using peripheral measures of respiration and cardiac pulsation. It incorporates noise models of cardiac/respiratory phase (RETROICOR, Glover et al. 2000), as well as heart rate variability and respiratory volume per time (cardiac response function, Chang et. al, 2009, respiratory response function, Birn et al. 2006). The toolbox is usable via the SPM batch editor, performs automatic pre-processing of noisy peripheral data and outputs nuisance regressor files directly suitable for SPM (“multiple_regressors.txt”).

# One-Page Quickstart – SPM Toolbox

- Copy the PhysIO Toolbox code folder to the toolbox folder of spm

(Optional) Rename the folder to something meaningful, e.g. PhysIO (see Figure 1).

- (Re-)Start SPM (spm fmri) and the Batch editor.

- The PhysIO Toolbox should now occur under SPM -> Tools -> TAPAS PhysIO Toolbox

- change directory (!) to examples/Philips/ECG3T-folder and load an example spm_job file into the batch editor, e.g : example_spm_job_ECG3T.m

- Press play!

Figure 1. Quickstart PhysIO Toolbox as SPM Toolbox. See Text above

Note: For further information on the PhysIO Toolbox, consult the handbook or see below.

# Quickstart – Matlab script (command line)

Adapt main_ECG3T.m (or one of the other main_* example files), especially the sequence parameter of the sqpar structure variable and the gradient/ECG/breathing threshold parameters in the thresh structure variable. You may set the parameters of each variable either separately, i.e. via sqpar.Nslices = 30; sqpar.Nscans = 320; or call the struct-command in Matlab to set them at once (see Example).

## Setting sqpar and thresh-parameters

sqpar

- is a structure holding all relevant timing parameters of your MR sequence

- is needed to time the physiological confound regressors correctly (see chapter 4, Input structures)

- In an ideal world, this is the only structure to be changed in the main_{PPU/ECG3T/ECG7T}.m-example files to run your own logfiles

- In practice, both scan timing and physiological signal need some preprocessing determined by the thresh-structure.

  - The need for this preprocessing should be assessed scrutinizing the output plots of the toolbox.

thresh.scan_timing

- determines which sampling points of the physiological logfile will be used for the confound regressor creation.

- can be left empty (=[]) to rely on nominal sequence timing as specified in sqpar, counting volume-TRs

- set for Philips logfiles, if slice/volume scan onsets shall be determined from the logged MR gradient time-course which in the Philips SCANPHYSLOG-file.

  - Unfortunately, there is no direct acquisition trigger event logged by Philips, so we have to resort to this workaround finding patterns in the gradient time course relating to slice or volume onsets.

  - multiple options for detection and count of scan events (see chapter 4, Input structures, for details)

    - from start or end of the log file

    - detecting different gradient amplitudes or temporal spacing for first and other slices of a volume

    - Figure 2 shall give a visualization of these parameters and shows the example output of ECG_3T (for thresh.scan_timing.vol) and ECG_7T (for thresh.scan_timing.vol_spacing):

Figure 2. thresh.vol and thresh.vol_spacing: Visualisation when which gradient thresholding shall be used and in which figures the corresponding plots are found.

## Description of Variables: the physio-structure

All parameters are occurring in the example files collected in the physio-structure, which can be created using the command

physio = physio_new();

In the body of this function, each parameter is documented with its usage and possible values. Additionally, physio_new can be called with template-names, i.e. typical use cases, e .g. when a manual correction of missed ECG pulses is desired

physio = physio_new();

## Example (main_ECG3T.m)

This example can be found in examples/main_ECG3T.m See the examples section for details concerning the data.

%% 0. Put code directory into path; for some options, SPM should also be in the path

pathRETROICORcode = fullfile(fileparts(mfilename('fullpath')), ...

'../../../code');

addpath(genpath(pathRETROICORcode));

physio      = physio_new();

log_files   = physio.log_files;

thresh      = physio.thresh;

sqpar       = physio.sqpar;

model       = physio.model;

verbose     = physio.verbose;

%% 1. Define Input Files

log_files.vendor            = 'Philips';

log_files.cardiac           = 'SCANPHYSLOG.log';

log_files.respiration       = 'SCANPHYSLOG.log';

%% 2. Define Nominal Sequence Parameter (Scan Timing)

sqpar.Nslices           = 37;

sqpar.NslicesPerBeat    = 37;

sqpar.TR                = 2.50;

sqpar.Ndummies          = 3;

sqpar.Nscans            = 495;

sqpar.onset_slice       = 19;

sqpar.Nprep             = []; % set to >=0 to count scans and dummy

% volumes from beginning of run, i.e. logfile,

% includes counting of preparation gradients

sqpar.TimeSliceToSlice  = sqpar.TR / sqpar.Nslices;

%% 3. Define Gradient Thresholds to Infer Gradient Timing (Philips only)

% 3.1. Determine volume start solely by marking every Nslices-th scan slice

% event as volume event

use_gradient_log_for_timing = true; % true or false

if use_gradient_log_for_timing

thresh.scan_timing.grad_direction = 'y';

thresh.scan_timing.zero         = 1700;

thresh.scan_timing.slice        = 1800;

thresh.scan_timing.vol          = [];   % leave [], if unused; set

value >=.slice, if volume

% start gradients are higher than slice gradients

thresh.scan_timing.vol_spacing  = [];   % leave [], if unused; set to e.g.

50e-3 (seconds), if there is a time gap between last slice of a volume & first slice of the next

else

thresh.scan_timing = [];

end

%% 4. Define which Cardiac Data Shall be Used

thresh.cardiac.modality = 'ECG';

thresh.cardiac.initial_cpulse_select.method = 'load_from_logfile';

thresh.cardiac.posthoc_cpulse_select.method = 'off';

%% 5. Order of RETROICOR-expansions for cardiac, respiratory and

%% interaction terms. Option to orthogonalise regressors

model.type = 'RETROICOR';

model.order = struct('c',3,'r',4,'cr',1, 'orthogonalise', 'none');

model.input_other_multiple_regressors = 'rp_fMRI.txt'; % either .txt-file or .mat-file (saves variable R)

model.output_multiple_regressors = 'multiple_regressors.txt';

%% 6. Output Figures to be generated

verbose.level           = 2; % 0 = none; 1 = main plots (default);  2 = debugging plots, for setting up new study; 3 = all plots

verbose.fig_output_file = 'PhysIO_output.ps';

%% 7. Run the main script with defined parameters

physio.log_files    = log_files;

physio.thresh       = thresh;

physio.sqpar        = sqpar;

physio.model        = model;

physio.verbose      = verbose;

[physio_out, R, ons_secs] = physio_main_create_regressors(physio);

# Step-by-Step Guide

By answering the following structured questions, you will be able to choose all options of the physIO toolbox according to the specific properties of your physiological dataset and modeling requirements. They are ordered by the general workflow of the physIO toolbox as depicted in Figure 3.

Figure 3: General Workflow of the physIO toolbox

- Read logfiles

  - Which vendor is used?

    - Philips

    - GE

    - Siemens

  - How shall the timing of the scan triggers and physiological logfile be synchronized?

    - Using a nominal timing

    - Using the gradient time-course (Philips only)

    - (Using the gradient-induced peaks in the unfiltered ECG)

- Preprocess physiological data

  - ECG or PPU?

  - heart beat peaks loaed from logfile (as detected) or initial re-detection

  - post-hoc manual labeling of missing heart beats?

## Interpreting the Output Figures

The following figures give an overview of the visual output of the toolbox for correct physiological logfile data (from Philips).

Figure 4. Reference output of scan-timing determined by thresholded, logged gradient time-course.

Figure 5. Example output for noisy ECG data, remedy: switch thresh.cardiac.initial_cpulse_select.method to ‘auto’

# Citing this work

If you want to use the method implemented in this toolbox, please describe it in your publication as follows:

“Correction for physiological noise was performed via RETROICOR [1,2] using Fourier expansions of different order for the estimated phases of cardiac pulsation (3rd order), respiration (4th order) and cardio-respiratory interactions (1st order) [2]: The corresponding confound regressors were created using the Matlab PhysIO Toolbox ([4], open source code available as part of the TAPAS software collection: http://www.translationalneuromodeling.org/tapas/).”

- Glover, G.H., Li, T.Q. & Ress, D. Image-based method for retrospective correction of physiological motion effects in fMRI: RETROICOR. Magn Reson Med 44, 162-7 (2000).

- Hutton, C. et al. The impact of physiological noise correction on fMRI at 7 T. NeuroImage 57, 101-112 (2011).

- Harvey, A.K. et al. Brainstem functional magnetic resonance imaging: Disentangling signal from physiological noise. Journal of Magnetic Resonance Imaging 28, 1337-1344 (2008).

- Kasper, L., Marti S., Vannesjö, S.J., Hutton, C., Dolan, R., Weiskopf, N., Stephan, K.E., and Prüssmann, K.P. Cardiac Artefact Correction for Human Brainstem fMRI at 7 Tesla. Proc. Org. Hum.  Brain Mapping 15 395 (2009).

Our specific implementation of RETROICOR, uses Fourier expansions of different order for the estimated phases of cardiac pulsation (3rd order), respiration (4th order) and cardio-respiratory interactions (1st order) following (Harvey et al., 2008).

# Example Datasets

## Philips

## ECG3T

Courtesy of Sandra Iglesias, Translational Neuromodeling Unit, ETH & University of Zurich

4-electrode ECG and breathing belt, Philips 3T Achieva scanner

Description: Standard example; shows how to use scan counting either from beginning or end of run to synchronize physiological logfile with acquisition onsets of fMRI scans.

Figure 6: Influence of sqpar.Nprep. If Nprep is set (here = 3) , the scan events including preparation gradients, dummies and scan volumes are counted from the start of the logfile (left), if Nprep is undefined, all is counted relative to the end of the logfile (right).

## ECG7T

Courtesy of Zina-Mary Manjaly, University Hospital Zurich

4-electrode ECG and breathing belt, Philips 7T Achieva scanner

Description: The ECG data for ultra-high field data is typically much noisier than at 3 Tesla. Therefore, R-wave peaks are frequently missed by prospective trigger detection and not marked correctly in the logfile. This example shows how to select typical R-wave-peaks manually and let the algorithm find the heartbeat events.

Figure 7: Manual R-peak detection setting ECG_min to 0.5. At 7T, this works more reliably than using the scanner logfile (blue stems), which misses some heartbeat events compared to the offline analysis of the script (green stems).

Figure 8: Output of Diagnostic raw time series (right) reveals that not all heartbeats have been detected when using a threshold of ECG_min=0.5 (left).

Figure 9: Output files. multiple_regressors contains the R-matrix for a GLM; test_phys.log is the modified SCANPHYSLOG.log now carrying all detected heartbeat and slice scan events and test_phys_ECG_kRpeakfile.mat may be used to rerun R-peak-detection identically

## Pulse Oximeter 3T

Courtesy of Diana Wotruba, University and University Hospital of Zurich

PPU (finger plethysmograph) and breathing belt, Philips 3T Achieva scanner

Description: Similar to ECG3T, but a plethysmograph instead of an ECG was used to monitor the cardiac pulsation. Example shows how to extract heart and breathing rate.

## ECG3T_Trigger

Courtesy of Tobias Hauser, Department of Child- and Adolescent Psychiatry, University of Zurich

Breathing belt, no ECG, Philips 3T Achieva scanner, patch (Roger Luechinger) to log scan event triggers into SCANPHYSLOG

Description: This logfile is very similar to the ECG3T-data above, but it doesn’t have an ECG attached. Interestingly, the scan events for every (2nd?) slice as initiated by the Philips scanner are logged in the SCANPHYSLOG-file enabling a direct evaluation of the toolbox’ algorithm to detect scan events from gradient time-course. A constant, small offset of 12 ms can be seen, which is constant over the whole session and thus absorbed in the RETROICOR cosine/sine phase expansion.

Figure 10. Lower panel: The scan events logged by the Philips system (purple) occur approximately 18 ms before the events detected by the toolbox algorithm, but only for every 2nd slice. This constant offset, however, is absorbed by the phase expansion in cosine and sine regressors later on.

## GE

## Pulse Oximeter 3T

Courtesy of Steffen Bollmann, Kinderspital Zurich and ETH Zurich

PPU (finger plethysmograph) and breathing belt, General Electric 3T scanner

Description: Similar to PPU, but acquired with on a GE system with two separate output logfiles for pulse oximetry and breathing amplitude, sampled with 40 Hz. The quality of the signal is particularly challenging, stemming from a patient population.

## Siemens

## ECG 3T

Courtesy of  Miriam Sebold, Charite Berlin, and Quentin Huys, TNU Zurich

4-electrode ECG data, Siemens 3T scanner

Description: Similar to ECG 3T, but acquired on a Siemens system with only one logfile for ECG data. The quality of the signal is challenging, stemming from a patient population.

# Input Structure physio

Physio is the main input structure to run the PhysIO Toolbox on a particular dataset. Its substructures (files, sqpar, thresh, model, verbose) are introduced in the following subsections and cover different parameter sets for different use cases of the toolbox. These substructures are altered in all examples/main_*.m – files and should be as well in your own scripts, before you call physio_main_create_regressors.  The code snippets documenting these substructures with its parameters are copied from the physio_new.m-file, where you will also find the latest version of the parameter documentation. Here is the header of that function:

function physio = physio_new(default_scheme, physio_in)

% creates complete PhysIO structure fed into physio_main_create_regressors

%

%    physio = physio_new(default_scheme, physio_in)

%

% IN

%   default_scheme  - if set, default values for structure entries are set

%                       according to the application

%                       different templates are predefined, e.g.

%                       'empty' (default) - all strings are set to '', all

%                                     numbers to []

%                       'RETROICOR' order of RETROICOR expansion taken

% 					from Harvey2008, JRMI28(6), p1337ff.

%                       'scan_timing_from_start'

%                       'manual_peak_select'

%   physio_in       - used as input, only fields related to default_scheme

%                     are overwritten, the others are kept as in physio_in

%

% OUT

%   physio          - the complete physio structure, which can be unsed in

%                     physio_main_create_regressors

%

% NOTE

%   All parameters used in the physIO toolbox are defined AND DOCUMENTED in

%   this file. Just scroll down and read through the comments!

%

% EXAMPLE

%   physio = physio_new('empty')

%   physio = physio_new('RETROICOR');

%   physio = physio_new('manual_peak_select', physio);

%

%   See also physio_main_create_regressors

%

% Author: Lars Kasper

% Created: 2013-04-23

% Copyright (C) 2013 TNU, Institute for Biomedical Engineering, University of Zurich and ETH Zurich.

%

% This file is part of the TNU CheckPhysRETROICOR toolbox, which is released under the terms of the GNU General Public

% Licence (GPL), version 3. You can redistribute it and/or modify it under the terms of the GPL

% (either version 3 or, at your option, any later version). For further details, see the file

% COPYING or <http://www.gnu.org/licenses/>.

%

% $Id: physio_new.m 188 2013-05-05 14:06:25Z kasperla $

## log_files

% structure containing general physiological log-file information

log_files.vendor       = ''; % 'Philips', 'GE', or 'Siemens', depending on your

%  MR Scanner system

log_files.cardiac      = ''; % 'SCANPHYSLOG.log'; logfile with cardiac data

log_files.respiration  = ''; % 'SCANPHYSLOG.log'; logfile with respiratory data

%                    (same as .cardiac for Philips)

% log_files.sampling_interval = [];   % in seconds, 2e-3 for Philips, variable for GE,

% e.g. 40e-3

## sqpar

sqpar.Nslices           = [];   % number of slices per volume in fMRI scan

sqpar.NslicesPerBeat    = [];   % usually equals Nslices, unless you trigger with the heart beat

sqpar.TR                = [];   % volume repetition time in seconds

sqpar.Ndummies          = [];   % number of dummy volumes

sqpar.Nscans            = [];   % number of full volumes saved (volumes in nifti file,

% usually rows in your design matrix)

sqpar.Nprep             = [];   % set to >=0 to count scans and dummy

% number of non-dummy, volume like preparation pulses

% before 1st dummy scan. If set, logfile is read from beginning,

% otherwise volumes are counted from last detected volume in the logfile

sqpar.TimeSliceToSlice  = [];   % time between the acquisition of 2 subsequent

% slices; typically TR/Nslices or minTR/Nslices,

% if minimal temporal slice spacing was chosen

% NOTE: only necessary, if thresh.grad_direction

% is empty and nominal scan timing is used

sqpar.onset_slice       = 19;   % slice whose scan onset determines the adjustment of the

% regressor timing to a particular slice for the whole volume

% volumes from beginning of run, i.e. logfile,

% includes counting of preparation gradients

## thresh

### thresh.scan_timing

% determines thresholds used in preprocessing physiological logfiles,

% either their timing (thresh.scan_timing) or the peripheral measures

% itself (thresh.cardiac, thresh.respiration)

thresh.scan_timing = [];    % leave empty, if nominal scan timing,

% derived from sqpar, shall be used

thresh.scan_timing.grad_direction = ''; % 'x', 'y', or 'z';

% if set, sequence timing is calculated

% from logged gradient timecourse along

% this coordinate axis;

thresh.scan_timing.zero     = [];   % gradient values below this value are set to zero;

% should be those which are unrelated to slice acquisition start

thresh.scan_timing.slice    = [];   % minimum gradient amplitude to be exceeded when a slice scan starts

thresh.scan_timing.vol      = [];   % minimum gradient amplitude to be exceeded when a new

% volume scan starts;

% leave [], if volume events shall be determined as

% every Nslices-th scan event or via vol_spacing

thresh.vol_spacing          = [];   % duration (in seconds) from last slice acq to

% first slice of next volume;

% leave [], if .vol-threshold shall be used

### thresh.cardiac

thresh.cardiac = [];

thresh.cardiac.modality = ''; % 'ECG','ECG_raw', or 'OXY' (for pulse oximetry), 'OXY_OLD', [deprecated]

% The initial cardiac pulse selection structure: Determines how the

% majority of cardiac pulses is detected

thresh.cardiac.initial_cpulse_select.method = 'load_from_logfile'; % 'load_from_logfile', 'manual' (rather: threshold...autocorrelate?), 'load'

thresh.cardiac.initial_cpulse_select.file = ''; % file containing reference ECG-peak (variable kRpeak)

% used for method 'manual' or 'load' [default: not set] string of file containing a

% if method == 'manual', this file is saved after picking the QRS-wave

% such that results are reproducible

thresh.cardiac.initial_cpulse_select.min = [];  % threshold for correlation with QRS-wave to find cardiac pulses

thresh.cardiac.initial_cpulse_select.kRpeak = []; % variable saving an example cardiac QRS-wave to correlate with ECG time series

% The posthoc cardiac pulse selection structure: If only few (<20)

% cardiac pulses are missing in a session due to bad signal quality, a

% manual selection after visual inspection is possible using the

% following parameters. The results are saved for reproducibility

thresh.cardiac.posthoc_cpulse_select.method = 'off'; % 'off', 'manual', 'load'

% 'off' - no manual selection of peaks

% 'manual' - pick and save additional peaks manually

% 'load' - load previously selected cardiac pulses

thresh.cardiac.posthoc_cpulse_select.file = '';  % filename where cardiac pulses are saved after manual picking

% Suspicious positions of missing or too many cardiac pulses are

% pre-selected by detecting outliers in histogram of

% heart-beat-2-beat-intervals

thresh.cardiac.posthoc_cpulse_select.percentile = 80; % percentile of beat-2-beat interval histogram that constitutes the "average heart beat duration" in the session

thresh.cardiac.posthoc_cpulse_select.upperThresh = 60; % minimum exceedance (in %) from average heartbeat duration to be classified as missing heartbeat

thresh.cardiac.posthoc_cpulse_select.lowerThresh = 60; % minimum reduction (in %) from average heartbeat duration to be classified an abundant heartbeat

## model

% Determines the physiological noise model derived from preprocessed physiological data

model.type = '';                            % 'RETROICOR' - as in Glover el al, MRM 44, 2000

model.input_other_multiple_regressors = ''; % other nuisance regressors to be included in design matrix

% either txt-file or mat-file with variable R

model.output_multiple_regressors = '';      % output file for usage in SPM multiple_regressors GLM-specification

% either txt-file or mat-file with variable R

model.order.c = [];                         % natural number, order of cardiac phase Fourier expansion

model.order.r = [];                         % natural number, order of respiratory phase Fourier expansion

model.order.cr = [];                        % natural number, order of cardiac-respiratory-phase-interaction Fourier expansion

% See Harvey et al, JMRI 28, 2008

model.order.orthogonalise = 'none';         % string indicating which regressors shall be orthogonalised;

% mainly needed, if acquisition was triggered to heartbeat (set to 'cardiac') OR

% if session mean shall be evaluated (e.g. SFNR-studies, set to 'all')

% 'n' or 'none'     - no orthogonalisation is performed

% Possible Values (default: 'none'

%   'c' or 'cardiac'  - only cardiac regressors are orthogonalised

%   'r' or 'resp'     - only respiration regressors are orthogonalised

%   'mult'            - only multiplicative regressors are orthogonalised

%   'all'             - all physiological regressors are orthogonalised to each other

## verbose

% determines how many figures shall be generated to follow the workflow

% of the toolbox and whether the graphical output shall be saved (to a

% PostScript-file)

verbose.level = 1;            % 0 = no graphical output; 1 = main plots (default);

% 2 = debugging plots, for setting up new study; 3 = all plots

verbose.fig_handles = [];     % collector of all generated figure handles during a run of physio_main_create_regressors

verbose.fig_output_file = ''; % file name (including extension) where to print all physIO output figures to,

% e.g. 'PhysIO_output.ps' or 'PhysIO_output.jpg'

% The specified extension determines how the

% figures will be saved

%     .ps - all figures are saved to the

%     same, multiple-page postscript-file

%     .fig, .tiff,  .jpg

%         - one file is created for each

%         figure, appended by its figure

%         index, e.g. 'PhysIO_output_fig01.jpg'

# TODO/Feature requests

- compare end of file with last gradient slice logged in SCANPHYSLOG

- extra-systole modelling

- Manual: Use cases, Step-by-Step instructions/Inspections

  - use Matlab -> publish to make manual better readable and up to date

- merge these:

  - ons_secs.cpulse = physio_get_cardiac_pulses(ons_secs.t, ons_secs.c, ...

thresh.cardiac, verbose);

[ons_secs, outliersHigh, outliersLow] = physio_correct_cardiac_pulses_manually(ons_secs,80,60,50);

This example dataset is not included in the current release due to space limitations. Write kasper@biomed.ee.ethz.ch to retrieve a version